## CES
Complaint Evaluation Sheet (CES)
General Information One sheet for all fans with same part number and exact same failure
1
Your RMA#: |  | Please fill in the yellow fields | [7 empty] | ebm-papst RMA#:
Company name: | [9 empty] | Contact person
Customer no ebmpapst
Address: | [9 empty] | Phone Number:
Email:
Customer Part #:
ebmpapst Part no. | [9 empty] | Quantity: | [5 empty] | Datecode CW/YYYY |  | /
Type: | [9 empty] | Serial number:
ebm-papst order no
2 Occurrence of failure:
Where was the failure discoverd? |  |  | Incoming Inspection [If failure was discoverd at incomming inspections only fill in failure date and section 3.] |  |  |  |  | Production Assembly | [5 empty] | Initial Operation |  |  |  |  | Field Rejects
Customer
Failure date [DD/MM/YYYY]: |  |  | / / |  |  | unknown |  | Was this the first time a fan failed in this application/unit? |  |  |  | Yes
No
3 Failure description: Please see flowchart for explanation
[11 empty] | Failure occurance: |  |  |  | Obvious |  |  |  | Hidden
[11 empty] | Failure status: |  |  |  | Constant |  |  |  | Changing
Failure group:
[11 empty] | Blockade/ stiff |  |  |  | No function |  |  |  | Noisy
[11 empty] | Leakage |  |  |  | High voltage failure |  |  |  | Wrong delivery
[11 empty] | Test data out of tolerance |  |  |  | Mechanical deviation |  |  |  | Transport damage
Failure description incl. situation shortly before failure occurence, pictures, further remarks:
4. Application description
Name of the unit, for example type, market name…
Number of fans in the same unit? | [8 empty] | If possible, please give further details incl. application location:
Did other fans fail in the same unit? |  |  |  |  | Yes |  | No
Same settings for all fans? |  |  |  |  | Yes |  | No
Did fans fail in different units in the same location? |  |  |  |  | Yes |  | No
Did fans fail in different locations? |  |  |  |  | Yes |  | No
6. Power supply to the fan
| 1~230 VAC 50 Hz |  |  |  | 3~400 VAC 50 Hz | [6 empty] | If any of the option to the left apply please move to section 7
AC mains | Voltage? |  |  | V | Frequency? |  |  |  | Hz | Generator powered? |  |  | UPS powered? |  |  | SMPS powered? |  |  | Dimmer?
| Fan grounded? | Yes |  |  | D-corner grounded? |  |  |  |  | Grounded neutral? |  |  | HRG / IT net? |  |  | Other?
No
DC | Voltage? |  |  | V | SMPS Regulated? |  | Yes |  |  | PWM? |  |  | Battery? |  |  | Alternator? |  |  | Other?
No
7. All | Other devices connected to the same power supply ?
8. Speed control
AC mains | Speed control if AC fan? |  | Yes |  | Star/Delta? |  |  | Transformer? |  |  | TRIAC? |  |  | Frequ. Inv.? |  |  | => All-pole sine-filter used?
|  |  | No | [13 empty] | Yes |  |  | No
| Speed control if EC fan? |  | Yes |  | MODBUS? |  |  | 0-10V? |  |  | 4-20mA? |  |  | PWM? |  |  | others?
No
9. Operating conditions
Duty point? [m3/h @ Pa] |  | @ |  |  |  |  | Mounting position? |  | Shaft? |  | vertic. |  | horiz. |  | Orientation of cable entry into the fan? |  |  |  | up
[9 empty] | Rotor? |  | up |  | down | [5 empty] | down
Continuous operation? |  |  | Yes |  | Average start ups per hour? | [5 empty] | Total hours of oper-ation till failure? | [5 empty] | Months in use till failure?
No
10. Meaningful, sharp pictures from application and failed fan (All)
11. Wished action from ebm-papst
Planned further steps:
Date: | [6 empty] | Name:
Additional fans: (All)
Datecode: CW/YY |  | SN# (if existing) |  |  |  | Part No. |  | Additional comments and pictures related to each particular fan
Note on D12: ebm-papst material number
Note on P12: How many fans with exact same part number are combined under this RMA-number?
Note on T12: production week of fans. If the fans have different production weeks, please use the table at the end of this sheet. Production week can be found on the fan lable or marking, see examples on sheet 2
Note on D14: ebmpapst type
Note on P14: All 33 digits support further processing. They are content of the Data Matrix Code. Please take a photo of the label with focus on the QR-Data Matrix and add it. If you have several serial numbers, please use the table on page 3.
Note on D15: Björn Jonsson: 6-digits starting with number 6. 6XXXXXX
Note on J19: Have there been other failures of this type and product in this application before? If there have state how many times or cross refer to other RMA's in the Further Remarks field
Note on L39: Björn Jonsson: Ex modell xx123
Note on G40: Number of fans used in the same unit in which products have failed. So this number includes defect as well as still running fans. E.g.: If a unit exists out of 20 fans and 3 fans have failed, then fill in the box with 20 and the box quantity (placed in general information) with 3.
Note on A42: Two questions have to be answered: 1) review of the past - Have others products failed within this application in the past? 2) Are there some other fans which failed with another part number used within this application
Note on A65: fill in all that applies regarding environmental conditions and requirements
Note on E103: state all decisions that are planned like e.g.: -reject of claim or -request client to return fan for analysis -visit site to assess (who and when) -agreed credit under warranty without analyses of failed product
Note on C106: Date when this form was filled
Note on K106: Name of person who has filled out this form
Note on D109: All 33 digits are appreciated to support further processing. The digits are content of the Data Matrix Code. Please take a pin sharp photo of the label with focus on the QR-Data Matrix and add it.
Note on H109: ebm-papst part number. 10 digits

## label production date examples
Examples of positioning of production date (Datecode)